EMERGENCY DRUG KIT STRATEGIES FOR THE DENTAL OFFICE

DOWNLOADABLE DOCUMENT #3: THE PEDIATRIC EMERGENCY CRASH CART

PEDIATRIC EMERGENCY CRASH CART

– these are SUGGESTED medications for the practitioner who will make the final decision and responsibility on the drugs for his/her office.

-practitioner should know doses of all emergency drugs for pediatric patients of various size and weight

Drawers 1 & 2:

CORE 8 DRUGS (SUGGESTED:

EpiPen Auto-injector x 2

EpiPen Jr Auto-injector x 2

Albuterol Inhaler

Aspirin 325 mg tablets or 81 mg tablets

Nitroglycerin tabs or spray

Diphenhydramine 50mg/ml vial

Insta-Glucose tube

Ammonia Inhalants

Oxygen “E” Cylinder (on side of cart or next to cart)

PALS DRUGS (SUGGESTED):

Adenosine 6mg/2ml vial

Amiodarone 150mg/3ml ampule

Dexamethasone 4 mg/ml 30 ml vial

Epinephrine 1mg/ml 30ml vial

Flumazenil 0.5mg/5ml vial

Methylprednisolone 125mg/2ml

Naloxone 0.4mg/ml 1ml ampule

Nitroglycerin 50mg/10ml vial

Nitroprusside 50mg vial

Norepinephrine 4mg/4ml ampule

Procainamide 1gm/10ml vial

Vasopressin 20U/ml 1ml vial

Verapamil 5mg/2ml vial

Sodium chloride 0.9% 10ml preservative free vial

Dopamine (40mg/ml 5ml vial)

Dobutamine (12.5mg/ml 20ml vial)

Atropine 0.1mg/ml 10ml syringe

Dextrose 50% 50ml syringe

Epinephrine 1:10,000 1mg/10ml syringe

Lidocaine 2% 20mg/ml (100mg/5ml) syringe

Sodium Bicarbonate 1mEq/ml 50ml syringe

Drawer 3: Airway (SUGGESTED)

Endotracheal tubes 2 each: 2.5, 3.0, 3.5, 4.0, 4.5, 5.0, 5.5, and 6.0

Endotracheal tube 1 each uncuffed: 6.5

Endotracheal tube 1 each cuffed: 7.0, 7.5, 8.0, and 8.5

Pediatric intubation tray (laryngoscope handle, straight and curved blade, 10 cc syringe, lubricant)

Pediatric stylet

adult stylet

1 Yankauer suction tip

1 roll tape

2 C batteries

2 Laryngoscope Replacement Bulbs

Magill Forceps

Three Oro-pharyngeal airways, (S-M-L)

Three Nasal airways, (S-M-L)

Ambu-bag

Nasal Cannula's

Adult/Peds Face Mask

Two Laryngeal Mask Airway (LMA), Adult (1) and Peds (1)

Stylet

Disposable Laryngoscope (optional)

CPR Barrier mask

Gloves, Nitrile (M & L)

Tongue Depressors

Ointment or Lube

O2 Flow meter with adapter

1 Roll 1 adhesive tape or pre-made ET tube holder

Skin prep wipes or benzoin

Suction Catheters: 1 each size: 6 Fr., 8 Fr., 10 Fr., 14 Fr.

Salem sump tube, 16 Fr

Lubricant

Straight connector

1 End-tidal CO2 Detector

Drawer 4: Circulation – IV supplies (SUGGESTED)

Intraosseous (I.O.) Kit (EZ-IO with additional needles)

Angiocaths – 2 each size: 24 Ga., 22 Ga., 20 Ga., 18 Ga.

Extension tubing – 2 each size: 30 inch and 60 inch

2X2 gauze

4X4 gauze

I.V. start kits

Tegaderm

1 inch tape

Assorted syringes-4 each: 10cc, 5cc, 3cc, 1cc

Non-coring Huber Needles-1 each size: 22 ga ¾ inch, 20 ga 1 inch

Drawer 5: Circulation – IV solutions (SUGGESTED)

Lactated ringer’s 1000cc,

Normal Saline 1000cc

Nasogastric Tubes-1 each size: 10fr., 12fr., 14fr.

Normal saline 250 ml

D5W 500 ml

D5W 250 ml

IV Tubing:

Macrodrip

Microdrip

Extension tubing (needless)

Armboards: 1 long, 1 short

Drawer 6: Additional Equipment (SUGGESTED)

AED additional battery

AED pads (check the expiration date)

Backup suction device

Backup lighting

Emergency Drug Logbook

Disposable gowns (multiple sizes)

Flashlight

2 “D” cell batteries

Oxygen Saturation (SpO2) probe

Broselow Tape

Restraints

Stethoscope

Disclaimer:  The publisher and author are NOT responsible (as a matter of product liability, negligence or otherwise) for any injury resulting from any material contained herein.  This publication contains information relating to general principles of medical care which should not be construed as specific instructions for individual patients.  Manufacturers’ product information and package inserts should be reviewed for current information, including contraindications, dosages, and precautions.  The purpose of this program is to provide information only, rather than advice or opinion. Nothing in this program should be construed as setting a standard of care or practice recommendations. Dental healthcare professionals accessing this program agree to assume full responsibility for the use of this information and hold harmless any third party, including, but not limited to the author and publisher of this program for any claim, loss, injury or damage arising from the use or dissemination of information within this program. It is the sole responsibility of the dental healthcare practitioner to determine drugs, doses, and administration techniques based upon their overall assessment and evaluation of each individual situation. Dental healthcare practitioners are advised to continually seek confirmation of this material with other reputable sources and are advised to stay current with information as it becomes available.